Case 2017-09 James Lenz for special exception #37 Approved Detached Accessory

Dwelling Unit: Chairman Colburn opened the hearing by reading the posting. Jennifer 7 Lenz explained that the 9 acre property located at 115 Main Street (tax map 102 lot 15) was recently developed by her parents for a new single family home. Her hope is to bring  a 200 sq ft “tiny home” to the property as an ADU. The one story unit will be anchored to  the existing ledge, will have a potable water tank, hardwire electrical connection, and will  be connected to a state approved septic system (water holding tank=running water=need  for an approved waste water system). Zoning Administrator Halleran explained that he and building inspector David Lersch have held several meetings with Jennifer in an attempt to work out a variety of code and ordinance issues. Per the town’s zoning  ordinance people are not allowed to live in an RV for extended periods of time. Tiny  houses which often share characteristics with RV’s often have difficulties satisfying local  building codes. David has decided to evaluate this one as a manufacture home for life safety code issues. The unit will have to be hardwired and anchored.  Having determined that the application was sufficient to move forward, Chairman  Colburn turned to public comments on the proposal. Abutter Greg Castell expressed  support for the project. There being no others wishing to speak the public hearing was  closed. The board began its deliberations, making the following findings:

1) The owner is the permanent resident on site.

2) The proposed unit is to be 200 sq feet; the main house is over 3,600 sq feet in size, 25 3) The 9.5 acre property is located in the Village Residential zone is conforming to the zoning ordinance and the proposed ADU meets or exceeds all valid specific requirements  found in the ADU ordinance section 4.3C and newly adopted state law RSA 674:71-73. 4) The application satisfied the general performance standards for all special exceptions  as outlined in section 5.6 II 30

5) Parking for the proposed unit is adequate. A motion to approve by Member Moynihan, was seconded and voted in the affirmative.  Approval subject to the following conditions:  1) Prior to occupancy, the required documentation certifying permanent residency must  be recorded at the Registry of Deeds (see ADU ordinance criteria #1)

2) Prior to occupancy, the project must obtain a certificate of occupancy from the town’s building inspector.

James and Elaine Lenz/ Elaine G. Lenz Living Trust

PO Box 278

Meriden

469-3402

Permit # 2017-86

Map/Lot 102/15

House 62x28 with attached garage

119 Main Street

09-24-18	Permit 2017-86, 119 Main Street. Inspected the forms for the floating slab for the tiny house. Town water line was buried from the street to just outside the right rear corner of the forms. Septic pipe had riser with cover just off rear of forms. I told her it would have been easier to have the water line come in under the slab as well as the sewage pipe. The pipe is buried and she will install heat tape and insulation, but it should go down as the pipe just below ground will freeze down several feet. I also let her know that the drain pipe could freeze in the coldest part of winter. Forms had two rows of rebar as I requested and on bricks, tied together. He will install bent rebar to form a loop to anchor the tiny house.

Time 0.5

11-01-18	Permit 2017-86, 119 Main Street. Tiny house moved to concrete slab, anchored at four places, water line buried and comes up in slab where a hole was cut into the concrete and water pipe was insulated. The sewer lines were insulated also but not connected to septic yet. Solar panels were not anchored yet, but the anchors were there to install. Small inverter mounted on side near roof.

Time 0.3

09-02-19	Sending a status letter since there was never any call for inspections for skirting, solar anchored, or inspection inside to verify safety codes. It doesn't have any electric supplied except for solar and batteries and installation not inspected.

11-26-19	No response to letter, permit expired with a final inspection.

David H Lersch

Plainfield Building Inspector

DATE: 09-01-19

Permit Status (Valid for one year from issue date)

Permit # 2017-86 		Issued:  11-15-2017

__X_	RENEWAL REQUIRED BY __11___/__15__/__2018___

____	EXPIRED,  NO INSPECTION REQUESTED

__X_ 	LAST INSPECTION:	 11-01-18 Anchoring and water hook up

__X_ 	YOUR PERMIT REQUIRED INSPECTIONS PER  INSPECTION 				GUIDELINES THAT CAME WITH PERMIT

____	CLOSED  – YOUR PERMIT IS CLOSED, A NEW PERMIT IS REQUIRED

__X_	A CERTIFICATE OF OCCUPANCY OR A CERTIFICATE OF COMPLETION WAS REQUIRED PRIOR TO OCCUPYIING YOUR HOUSE

NAME :     	James and Elaine Lenz/ Elaine G. Lenz Living Trust

ADDRESS : PO Box 278

Meriden, NH 03770

MAP/LOT: 	102-15				 ADDRESS:   119 Main Street

David H Lersch				     		603-381-1929

Plainfield Building Inspector