Poor Thoms Tavern, LLC

PO Box 423 Meriden

Thomas Lappin

469-3004

Permit # 2015-51

Map/Lot  104/5

New restaurant

09-22-15	Permit 2015-51, 19 Bean Road. Inspected the footer forms for Tom's restaurant. Looked okay. Had to go back and let him know that he needs to file for his permit.

Time 1.0

09-29-15	Permit 2015-51, 19 Bean Road. Inspected the wall forms for Tom's restaurant. Looked okay.

Time .05

10-01-15	Permit 2015-51, 19 Bean Road. Inspected the foundation wall forms and all was okay to pour.

Time 0.8

10-07-15	Permit 2015-51, 19 Bean Road. I inspected the temporary electrical service and notified Liberty Utilities that it was ready for them to connect power.

Time 0.7

11-02-15	Permit 2015-51, 19 Bean Road. Inspected some of the framing that was completed. Roof on and walls being closed up. Looked okay.

Time 0.3

11-09-15	Permit 2015-51, 19 Bean Road. Inspected the trench with conduit installed from the pole to the restaurant. Plenty of sand, okay to backfill. Also inspected inside.

Time 0.8

12-23-15	Permit 2015-51, 19 Bean Road. Went by and inspected the rough in electrical wiring that was installed. Siding on and roof, most of the siding is stained or painted. Looked good.

Time 0.3

01-05-16	Permit 2015-51, 19 Bean Road. Tom called to have me inspect the rough in electrical as the insulators were there already. I inspected the rest of the electrical that wasn't completed when I was there before and while I was there I inspected the blown insulation.

Time 0.7

01-19-16	Permit 2015-51, 19 Bean Road. Inspected the rough in plumbing and discussed where kitchen equipment was going and the electrical and plumbing. Sheetrock installed and taped. Almost ready to paint and start installing equipment and electrical fixtures.

Time 0.8

03-08-16	Permit 2015-51, 19 Bean Road. The electrician called to have me inspect the permanent electrical service so Liberty can connect at the pole. Inspected electrical wiring inside including two circuit panels. Looked okay. I will notify Liberty Utilities that they can connect electrical power.

Time 0.4

04-07-16	Permit 2015-51, 19 Bean Road. Went by to see progress. All equipment was installed, state inspector was in for kitchen inspection. Bar was installed with all equipment. Tom working on wood fired oven. Cooler built and working in basement. Still needed deck on one entrance and railing on handicap ramp.

Time 0.6

05-03-16	Permit 2015-51, 19 Bean Road. I did the final inspection of the restaurant after the Fire Chief completed his fire safety inspection and gave Tom his certificate. The kitchen has been approved by the state and he is only waiting for his liquor license. I will issue an Occupancy Certificate.

Time 0.7

David H Lersch

Plainfield Building Inspector