Kimball Union Academy

PO Box 188

Meriden

469-2152

Permit # 2019-02

Map/Lot 104/33

60x40 steel storage building

Behind 37 Main Street

03-19		Not sure date but Brad sent a text that they were ready to have power 			supplied to building. Sent email to Liberty that it was okay to connect 			service.

05-07-19	Inspected new panel, just two circuits to GFI receptacles under panel.

Garage door openers temporary using extension cords. Lighting and other circuits will be added.

Time 0.2

04-14-20	I inspected the completed wiring and I will issue a Certificate of Completion.

Time 0.4

David H Lersch

Plainfield Building Inspector

Completion Certificate

TOWN OF PLAINFIELD, NH

This certifies that the work described by Building Permit # 2019-02, behind 37 Main Street, Meriden, NH, Map/Lot 104-33 has been completed in accordance with the provisions of the 2009 International Building Code and the Codes of the Town of Plainfield.

Description of Work: Provide buried 100 ampere electrical service to grounds storage garage.

Portion of structure inspected: Completed electrical service and wiring.

Applicants Name: Kimball Union Academy

PO Box 188

Meriden, NH 03770																																					04/16/2020

Building Code Official Signature   Date

David H. Lersch