Marianna McKim

94 Bonner Road

469-3999

Permit # 2016-27

Map/Lot 105/10

Convert attic

09-26-16	Permit 2016-27, 94 Bonner. I inspected the rough in electrical wiring in the attic that will be insulated and have sheetrock installed. Looked okay.

Time 0.5

05-04-17	Permit 2016-27, 94 Bonner Road. Inspected the insulation and the finished electrical wiring, looked okay.

Time 0.4

11-13-17	Permit 2016-27, 94 Bonner Road. While doing final inspection permit 2017-19 for the new addition, they were completing the installation of the sheetrock. I will issue a Certificate of Completion.

Time 0.0

David H Lersch

Plainfield Building Inspector