Plainfield School

92 Bonner Road

469-3250

Permit # 2015-34

Map/Lot 105/11

office and close in library

06-22-15	Plainfield School inspection with Frank, State Fire Marshall, and school personnel. In addition to finding areas to correct,  we went over some of the proposed projects and the procedures and issues with those changes.

Time 4.9

08-20-15	Permit 2015-34, 92 Bonner Road. Bill called and I stopped to inspect the work that has been completed. Office work except new window in entry is still on order. New additional kindergarten room and a new additional first grade classroom. Walls finished closing in library area. New egress door for classroom being installed (to outside).

Time 0.3

10-11-16	Permit 2015-34, 92 Bonner Road (Plainfield School). Bill called and said some electrical work needed to be inspected by Jim O. The office work has been completed. New doors inside for the gym were installed with small window and locking as requested so that gym could be used by others while not allowing access to the rest of the school. A door to the bathrooms with small window that can be locked both to the gym and a locking door to the school's hallways from the bathroom hallway. Main outside entry to gym has new enclosed entry with exit/emergency lighting, also lighting on that side of building, around the corner to the lighting to the single egress door to the gym and also the outside door to the hallway for the bathrooms. New egress door for classroom installed. Both bathrooms next to gym renovated with new waterless urinals, new fixtures, and alarm horns.

Time 0.4

David H Lersch

Plainfield Building Inspector