Diane and Mark Walker

15 Baynes Road

682-7519

markwalker.nh@gmail.com

Permit # 2020-24

Map/Lot 105/27

powerwall energy storage system

06-15-20	I inspected the installation of the powerwall energy storage system and it was okay. All labels installed on panels. I will issue a certificate of completion.

Time 0.3

David H Lersch

Plainfield Building Inspector

Completion Certificate

TOWN OF PLAINFIELD, NH

This certifies that the work described by Building Permit # 2020-24, at 15 Baynes Road, Plainfield, NH, Map/Lot 105-27 has been completed in accordance with the provisions of the International Residential 2015 Code and the Codes of the Town of Plainfield.

Description of Work: Install one Powerwall storage system with backup gateway.

Portion of structure inspected: Installed 27KWh Powerwall storage system.

Applicants Name: Mark Walker

15 Baynes Road

Plainfield, NH 03781

June 15, 2020

Building Code Official Signature   Date										        David H. Lersch