Claudine Spenser REV TR

40 Hayward Road

359-5718

Permit # 2017-44

Map/Lot 108/20

solar tracker, 100-200amp upgrade, siding, 12x22 greenhouse, roof on barn

10-24-17	Permit 2017-44, 40 Hayward Road. Inspected the new meter panel with 200 ampere disconnect, grounding rods, and wire to solar system location. Service was going to be buried but now it is aerial. I notified Eversource it was okay to connect.

Time 0.6

12-05-17	Permit 2017-44, 40 Hayward Road. Brad inspected solar installation.

Ryan 978-500-7926.  After phone call with Brad and receiving Eversource Certificate of Completion, signed form, scanned to PDF and emailed back.

- 12-05-17	Permit 2017-44, 40 Hayward Road – (Spencer) Solar Array Final. Met with solar 				co. tech on-site. Walked to array in back yard: connections to house buried per 				zoning ordinance. Observed new service entrance with external disconnect. 				Everything looked neat, tight, and properly labeled.

David H Lersch

Plainfield Building Inspector