DATE: 08/09/19

Permit Status (Valid for one year from issue date)

Permit # 2018-55  		Issued:  08-29-2018

_X__	RENEWAL REQUIRED BY __08___/__29__/__2019___

____	EXPIRED,  NO INSPECTION REQUESTED

_X__ 	LAST INSPECTION:		06-05-30-19 Email - electrical

_X___ 	YOUR PERMIT REQUIRED INSPECTIONS PER  INSPECTION 				GUIDELINES

____	CLOSED  – YOUR PERMIT IS CLOSED, A NEW PERMIT IS REQUIRED

____	A CERTIFICATE OF OCCUPANCY WAS REQUIRED PRIOR TO OCCUPYIING YOUR HOUSE

__X_	A CERTIFICATE OF COMPLETION WAS  REQUIRED

NAME :     Kara Toms and Dan Barnett

ADDRESS : 62 Grantham Mountain Road

Plainfield, NH 03781

MAP/LOT: 	245-18.2				 ADDRESS:   Same

David H Lersch				     		603-381-1929

Plainfield Building Inspector

DATE: 02/11/2020

Permit Status (Valid for one year from issue date)

Permit # 2018-55  		Issued:  08-29-2018

_X__	RENEWAL REQUIRED BY __08___/__29__/__2019___

____	NO INSPECTION REQUESTED

_X__ 	LAST INSPECTION:		12/14/19

_X___ 	YOUR PERMIT REQUIRED INSPECTIONS PER  INSPECTION 				GUIDELINES.

____	CLOSED  – YOUR PERMIT IS CLOSED, A NEW PERMIT IS REQUIRED

____	A CERTIFICATE OF OCCUPANCY WAS REQUIRED PRIOR TO OCCUPYIING YOUR HOUSE

_X__	A CERTIFICATE OF COMPLETION WAS  REQUIRED

NAME: Barnett, Dan & Toms,Kara

ADDRESS : 62 Grantham Mountain Road

Meriden, NH 03770

MAP: 	245  LOT 18.2			 ADDRESS:   Same

David H Lersch				     		603-381-1929

Plainfield Building Inspector

Dan Barnett

62 Grantham Mountain Road

Meriden

469-3639

Permit # 2018-55

Map/Lot 245/18.2

24x24 garage

09-24-18	Permit 2018-55, 62 Grantham Mountain Road. Received a email from Dan asking questions about his new garage. Told him to notify me when he was ready to start construction.

11-30-18	Permit 2018-55, 62 Grantham Mountain Road. Received a email from Dan asking when the next inspection was due and said they just poured the footer. I let him know that the footer should have been inspected, let him know some future inspections and told him to follow inspection sheet that came with permit or go to town website for inspections.

11-29-18	Permit 2018-55, 62 Grantham Mountain Road Footing for frost walls of 			new garage – Met Dave Beaulieu on-site (fresh snow, forms blanketed) 			Dave reviewed layout/scope while his help shoveled off a portion of 			forms. 10x20 nom footings formed-up. 2 runs rebar visible. Dave 				indicated that they planned to use bricks to raise rebar. I asked him to 			forward pics to you to verify pre-pour. He plans to wet set vertical tie rods 			to wall. No footing drains or penetration. No electrical grounding (Dave 			not aware of any panel planned. (Just branch circuits from house?). Dave 			not aware of any plans for wall insulation.

BRAD

12-12-18	Permit 2018-55, 62 Grantham Mountain Road. Call from Dave B. wall 			forms ready for inspection. Notified Brad and let Dave know Brad will 			contact him.

Time 0.1

12-13-18	Permit 2018-55, 62 Grantham Mountain Road. Received an email from 			Dan to see if contractor called me as the wall forms were ready for 				inspections. Called Brad, inspection completed yesterday. Emailed Dan 			and said Dave B. did contacts me for the wall and he also did contact me 			for the footer and was inspected by Brad.

12-14-18	Permit 2018-55, 62 Grantham Mountain Road. Footing pre-pour: Met 			Dave Beaulieu on-site. Simple rectangle w/bulkhead. Rebar / chairs in 			place. Ground wire present, not yet installed (verifying location 				w/Builder). Snow pending – blankets present. Ok to pour.  BRAD

Time 0.2

May 18, 2019

David Lersch
electrical trench

We have dug our electrical trench for the garage. When can you swing by to inspect it? 62 Grantham Mtn Rd, Meriden Kara Toms

May 19, 2019 PM David Lersch wrote:

No you don't need to be there, Don't need to see the tape installed. No dogs loose in yard I will be okay.
---------- Original Message ----------

 Sun, 19 May 2019 
Hi David,  Do you need us there when you stop by to inspect the elec conduit? I did not pull the cable yet. I&#39;m planning to use 2-2-4-6 Aluminum for the 100A feeder from our main panel to the garage panel. Not clear to me yet if I should USE-2 cable or a different type. I was going to check with Rockingham tomorrow. 
The 1.5" PVC is >18" deep and I will lay dig safe warning tape 12+" above the PVC. Do you need to come out again after the conduit is partially backfilled to inspect for tape?
Thanks, Dan Barnett 603-286-0899

05-20-19	Inspected the conduit in the trench between the house and the attached 			garage. Inspected the framing of the garage as well. Looked okay. 				Concrete floor poured, small loft, stairs not built yet.

Time 0.4

Mon, 3 Jun 2019 

David, We know that we need GFCI breakers or receptacles. Do we also need AFCI breakers in the garage?
Dan Barnett

6/4/19

David,

We know that we need GFCI breakers or receptacles. Do we also need AFCI breakers in the garage?

Dan Barnett

As far as I am aware, living space needs arc fault

6/5/19

Ok, I'll let u know when wiring is complete.

On Wed, Jun 5, 2019, 5:59 PM David Lersch <davejosie@juno.com> wrote:

As long as wiring is visible
---------- Original Message ----------
David Lersch

5 Jun 2019
Thanks David. I received some clarification on the NEC. In 2014 kitchens were added to the list of living areas that require AFCI breakers but they are still not needed in bathrooms, garages, unfinished basements and exterior outlets. Â If you want to inspect our garage sub-panel, it is now installed with the exception of the grounding rod which I plan to connect after Robbie has a chance to finish back-filling.  If you prefer to wait until we finish connecting the lights and receptacles, I'll let you  know when we wrap it up.

08-09-19	Renewal letter sent.

12-12-19	Emails from Dan and Brad involved in inspections. Received 			email 10-12-19 for work for breezeway between house and garage.

Pete installed trusses and Dan doing some of the work. Brad has 			some concerns about hurricane clips. He is working with Pete and 			Dan.

---------- Original Message ----------
From: Dan Barnett <dbarnett.engineering@gmail.com>
To: David Lersch <davejosie@juno.com>
Subject: Toms Barnett Garage Breezeway Deck
Date: Sat, 12 Oct 2019 06:12:41 -0400

Hi Dave,Â 

We are getting closer to finishing our garage. I just finished the deck under the breezeway. I won&#39;t screw down the last couple boards so that you can look at the ledger bolting. Both ledgers are spaced off by 1/2". Let meÂ know if you have any questions or concerns with anything else.Â Dan

603-475-8216 (cell)

Ok, thanks. Hope that you enjoy your winter in a warmerÂ climate!

On Wed, Dec 4, 2019 at 6:10 AM David Lersch <davejosie@juno.com> wrote:

Ok, I will let Brad know to inspect, left yesterday for warmer weather.
---------- Original Message ----------
From: Dan Barnett <dbarnett.engineering@gmail.com>
To: David Lersch <davejosie@juno.com>
Subject: Re: Toms Barnett Garage Breezeway Deck
Date: Tue, 3 Dec 2019 19:56:10 -0500

Hi David,Our garage is ready for an inspection when you are available.
Dan Barnett
On Mon, Oct 14, 2019, 6:11 AM Dan Barnett <dbarnett.engineering@gmail.com> wrote:
Ok, thank you for clarifying.Â 
On Sun, Oct 13, 2019, 12:47 PM David Lersch <davejosie@juno.com> wrote:
I was going to inspect, since it is low to ground go ahead and finish
---------- Original Message ----------
From: Dan Barnett <dbarnett.engineering@gmail.com>
To: David Lersch <davejosie@juno.com>
Subject: Re: Toms Barnett Garage Breezeway Deck
Date: Sun, 13 Oct 2019 10:38:11 -0400

I don&#39;t understand your reply. Can I finish screwing down the deck boards or do you want to check the ledger bolts first?
On Sat, Oct 12, 2019, 8:23 AM David Lersch <davejosie@juno.com> wrote:
No, let me know when ready

---------- Original Message ----------
From: Dan Barnett <dbarnett.engineering@gmail.com>
To: David Lersch <davejosie@juno.com>
Subject: Toms Barnett Garage Breezeway Deck
Date: Sat, 12 Oct 2019 06:12:41 -0400

Hi Dave,Â 

We are getting closer to finishing our garage. I just finished the deck under the breezeway. I won&#39;t screw down the last couple boards so that you can look at the ledger bolting. Both ledgers are spaced off by 1/2". Let meÂ know if you have any questions or concerns with anything else.Â Dan

Will do. He left a message and I forgot to call back. I'll call today.

On Thu, Dec 12, 2019, 3:00 PM David Lersch <davejosie@juno.com> wrote:

Dan,
Call Brad so I can issue cortificTe

Hi Dan, Peet:

When I made my site visit I didnâ€™t see some expected bracing on the garage trusses, but since I had not been involved with the project since the concrete work I had Dan forward the pdfâ€™s so I could review the design.

The truss design consists of â€œstandardâ€ bracing requirements (red sheets) and the project specific document (that Dan forwarded to me). This design calls for bearing blocks, hurricane ties, and various other bracing, some of which I did not see. All that needs to happen at this point is for someone to check and complete any missing work. If you have any question about what those documents call for you can contact the designer or I am happy to go through them with either/both of you. When the work is ready I would return to confirm.

Let me know if I can be of further assistance, or when you are ready for me to come back.

Regards,

Brad

12/14   62 Grantham Mountain Rd: Barnett - Garage/breezeway final: I met the owner (Dan Barnett) on-site and reviewed the work. There is some siding work on the left/east side remaining. In the course of looking at the garage I asked about truss attachment and bracing. Dan indicated that Mountain Goat Construction had been hired to help erect the shell and that the owner had taken over the work from that point. He forwarded me the truss specs. I took a couple of pictures and we agreed that I would review the details and get back to him if I had any questions. I later reviewed the specs and called Peet Danen (Mountain Goat) who confirmed the division of work. Since there appeared to be some missing blocking and possibly other bracing needed I emailed the owner indicating that they should review the truss specs, especially the foot notes, and when the work was complete to call for a final inspection. I indicated that I was available if they had any questions.

From: Daniel Barnett <dbarnett@fujifilm.com>
Sent: Tuesday, January 07, 2020 4:42 PM
To: Peet Danen <mtgoatco@gmail.com>
Cc: brad.atwater@comcast.net
Subject: Re: Barnett garage

I can meet from 8-9am on Mon or Tues. Friday this week or next week probably will work too. Is an hour enough time?

-Dan

On Tue, Jan 7, 2020 at 2:40 PM Peet Danen <mtgoatco@gmail.com> wrote:

Dan and Brad,

Is there a day next week that we can meet? Hopefully between 8 and 3 .

Thanks

05-19-20	Permit expired with out final inspection.

David H Lersch

Plainfield Building Inspector