Peter Whybrow

109 Daniels Road

675-2342

Permit # 2013-36

Map/Lot 225/11

Garage

08-05-13	Permit 2013-36, 109 Daniels Road. Inspected the footer forms and rebar for the 24’x32’ garage. Looked okay and I let them know they could pour when they were ready.

Time 0.4

08-05-13	Permit 2013-36, 109 Daniels Road. I inspected the wall forms and they were okay, gave the okay to pour.

Time 0.2

09-19-13	Permit 2013-36, 109 Daniels Road. I inspected the trench and conduit installation from where the new replacement pole will be installed by the power company to the pedestal for the meter socket and to the house as the service is being upgraded from 60 ampere to 200 ampere service and also the trench and conduit from the house to the garage. Looks good. Most of the garage is framed.

Time 0.3

01-06-14	Permit 2013-36, 109 Daniels Road.(Win) Rough in elect. insp. at Whybrow's garage on Daniel's Road with Johanna Shariff

Time 0.75 hrs

David H Lersch

Plainfield Building Inspector