Plainfield Community Baptist Church

1094 Route 12A

Permit # 2017-24

Map/Lot 107/6

adding wall to make office and electrical

10-13-17	Permit 2017-24, 1094 Route 12A. John called and wanted me to inspect the rough in electrical wiring he installed in the room that is now two rooms, one a new office. Added 2x4 along outside wall as there was only wood, no insulation. He installed some in the new wall. Looked okay.

Time 0.4

05-29-18	Permit 2017-24, 1094 Route 12A. No additional inspections requested. 			Sent status letter.

06-02-18	Permit 2017-24, 1094 Route 12A. Stopped at flower sale in town. They 			were working inside. I let them know permit expired and it was only to 			make an office. All the walls were stripped. They were building stud walls 		against the outside walls. Also a large beam was cut as the original 				chimney was there. They built walls to make office and a living room 			space helping support the joists that the beam was supposed to do. They 			also found live nob and tube electric wires that they were going to remove. 		Shoring up walls, wiring, and additional insulation is what they are doing. 			They will be getting a permit (renew and adding scope).

Time 0.3

David H Lersch

Plainfield Building Inspector