Carl & Jean Strong

111 Underhill Road

469-3324

Permit # 2015-39

Map/Lot 263/16

11kw generator

08-05-15	Permit-2015-39, 111 Underhill Road. Met with owner to go over the placement and codes for a standby generator. The power comes into the garage that is separate from the house and that is where the generator and transfer switch will be installed. Five feet is required form a house and he wondered if it could be closer. I told him we could reduce it due the narrow driveway since it was far away from any area where people would be.

Time 0.7

10-23-16	Permit 2015-39, 111 Underhill Road. No response to letter dated 9-8-16.

Permit expired without any inspections.

David H Lersch

Plainfield Building Inspector