Elizabeth McNamara

1121 Route 12A

667-6907

Permit # 2015-32

Map/Lot 108/2

Foundation and walls between barn and house

07-15-15	Permit 2015-32, 1121 Route 12A. Dave called to have me inspect the footer forms for the frost wall between the house and the barn. Looked okay.

Time 0.5

08-19-15	Permit 2015-32, 1121 Route 12A. Dave called to have me inspect the frost wall forms with rebar installed.

Time 0.2

09-13-16	Permit 2015-32, 1121 Route 12A. Elizabeth called and said they had in the wiring for a few receptacles and the lights. The wiring looked okay and the framing as well. They need to install doors and a window and they want to wood panel the walls. It is just a breezeway from the house to the barn and will not be heated, so I check sometime and when all finished will issue a Completion Certificate.

Time 0.2

08-24-17	Permit 2015-32, 1121 Route 12A. North side has door installed, no siding yet and no door on south entrance, walls not covered. Letter sent 7/31/16, , permit expired, Elizabeth said it will take a while to finish. I will file paperwork as expired without final inspection.

Time 0.2

10-31-18	Permit 2015-32, 1121 Route 12A. Stopped by and did inspection of unheated breezeway between house and barn. Doors installed on north and south side and it is open to barn. I will issue a completion certificate.

Time 0.1

David H Lersch

Plainfield Building Inspector