Jonathan & Carmen Wilmot

1253 Route 120

Meriden

359-4104

Permit # 2013-01

Map/Lot 271/1

Kitchen remodel

03-04-13	Permit 2013-01, 1253 Route 120. Met with Jim Osterland and Jonathan to inspect the rough in wiring for the kitchen as well as some plumbing for a clothes washer off the kitchen. Looked okay. Told them to call when the insulation is installed.

Time 0.7

David H Lersch

Plainfield Building Inspector