Josh & Meghan Longacre

1264 Route 12A

675-5049

Permit # 2011-08

Map/ID # 259/33

Room in Basement

08-04-11	Permit 2011-08, 1264 Route 12A. I received a call from the electrician to inspect the wiring in the basement that is being finished. everything looked okay including the egress window that was put in for the basement. The window well was dug but the well with ladder was not installed yet.

Time 0.3

David H Lersch

Plainfield Building Inspector