Steven Ladd

PO Box 218

Meriden

469-3609

Permit # 2015-33

Map/ID #  252/13

5kw ground mounted solar array

139 Whitaker Road

07-02-15	Permit 2015-33, 139 Whitaker Road. I inspected the  holes for the concrete supports for the ground mounted solar array. Looked okay and he would put in the tubes and pour concrete.

Time 0.6

12-01-15	Permit 2015-33, 139 Whitaker Road. I completed the final inspection of the home owner installed 5KW ground mounted solar system. Everything installed okay and is operational except for the utility company to install the new meter. I will issue a certificate of completion.

Time 0.5

David H Lersch

Plainfield Building Inspector