Tim & Naomi Goodwin

141 Loomis Road

Plainfield NH

Permit # 2009-76

Map/ID # 206/3

Porch to room, also new deck

11-23-09	Permit none, 141 Loomis Road. Bill Knight called and wanted me to inspect the footer forms for the new room that is being built where the porch was just off the kitchen. Looked okay and told them they could pour.

Time 0.6

11-30-09	Telephone calls. Called Steve about 141 Loomis Road as I don’t have a permit for it. Steve said they haven’t gone to the zoning board and he doesn’t have a application for a permit.

08-26-10	Permit 2009-76, 141 Loomis Road. Bill called for a rough in of the wiring and it was okay. He will call when the plumbing is ready for inspection. No one called for the wall forms inspection. The room addition where the porch was looked okay but the new L shaped deck covers the bulkhead. There are removable panels but you could never open the metal doors with the deck panels in place. Bill will be removing the metal doors and frame of the bulkhead and hinge the deck panels so you can exit the basement per IRC 2006 code.

Time 0.8