Paul Franklin

141 River Road

Plainfield NH

Permit # 2014-11

Map/ID # 203/6

17.68kw solar electric system

04-22-14	Permit 2014-11, 141 River Road. Telephone call from ReVision energy about the permit they pulled. She wanted a copy of the approved permit. I told her I would scan and email it to her.

Time 0.2

07-03-14	Permit 2014--11, 141 River Road. Met with Chris to inspect the solar electric they are installing on two out buildings. The smaller building has its own meter and solar system and was working but not in operation yet. On the larger building, they were just installing the rails on the roof and the inverters inside the building. This building gets its electricity from the main house and they will be installing new electric cable from the house to the outbuilding. Most of the wiring and equipment was installed except for more rails and the solar panels. Scheduled a final inspection for Tuesday morning.

Time 0.7

07-08-14	Permit 2014-11, 141 River Road. They told me they would be done by this morning. Due to the rain and storms they said they should be completed by 3PM.

Time 0.4

07-08-14	Permit 2014-11, 141 River Road. Arrived after 3PM, looked completed , but no one there.

Time 0.4