**J**

**157 Hayward Road**

**5**

**Permit # 2017-**

**Map/Lot**

**two car garage**

07-05-17 Permit-none, 157 Hayward Road. Met with home owner to go over his plans to build a two car garage. He wants to do a floating slab, but he wants to pour frost wall and floor at same time.

 Time 0.5

07-14-17 Permit-applied, 157 Hayward Road. Met with owner at side. He showed me the concrete deck with pressure treated 4x4s in a crosshatch pattern with concrete in the squares and he wants to do the same for the garage floor. I told him as long as the floor concrete was at least four inches thick it would be okay. He did apply for a permit.

 Time 0.5

David H Lersch

Plainfield Building Inspector