James Fitzgibbons

175 Chellis Road

252-6941

Permit # 2010-

Map/Lot 233/24

Sheep Shed

10-14-10	Permit – none, 175 Chellis Road. Jim called me to inspect the conduit and trench from the small horse shed to a new shed he is going to build for the sheep. I inspected the trench and conduit and it looked okay. I told the they could backfill. We discussed the location of the shed and I was told Jim would be applying for a permit.

Time 0.6

David H Lersch

Plainfield Building Inspector