Marrazzo Properties, LLC

Robert & Carol  Marrazzo

189 Croydon Turnpike

448-3591

Permit # 2014-14

Map/Lot 227/3

garage into new room and new two car garage

05-02-14	Permit 2014-14, 189 Croydon Turnpike. I inspected the temporary electrical service pedestal, looked okay and notified power company.

Time 0.5

05-15-14 	Permit 2014-14, 189 Croydon Turnpike. I inspected the footer forms for the new garage and a small addition on the rear of the old garage section.

Time 0.5

05-20-14	Permit 2014-14, 189 Croydon Turnpike. I inspected the frost wall forms for the new garage and the small addition.

Time 0.4

06-30-14	Permit 2014-14, 189 Croydon Turnpike. I inspected the rough in plumbing that was installed between the old garage floor and the new raised floor and the plumbing for the new bathroom. They wanted to insulate and lay the new floor. Plumbing was pressure tested and okay.

Time 0.7

07-16-14	Permit 2014-14, 189 Croydon Turnpike. I inspected the rough in electrical so the could spray the foam insulation. Looked okay and will stop by tomorrow to inspect the insulation so they can cover the walls.

Time 0.9

07-17-14	Permit 2014-14, 189 Croydon Turnpike. Inspected the foam insulation and looked okay.

Time 0.6

05-26-15	Permit 2014-14, 189 Croydon Turnpike. I completed the final inspection of the new room and attached garage with contractor, owner, plumber, electrician. I will issue a Certificate of Occupancy

Time 1.0

David H Lersch

Plainfield Building Inspector