Vadim & Jean-Anne Brown

192 Willow Brook Road

Plainfield

469-3330

Permit # 2012-30

Map/Lot 225/9

12x24 shed, close off garage-expand family room.

07-30-12	Permit 2012-30, 192 Willow Brook Road. I inspected the electrical wiring and insulation in the garage so he could install sheetrock, then he will remove the wall to the family room. Only one spot that needs a metal plate.

Time 0.4

David H Lersch

Plainfield Building Inspector