Elof Erickson

198 Route 120

448-1154

Permit # 2017-30

Map/Lot 213/02

BARN, man cave and storage

06-22-17	Permit 2017-30, 198 Route 120. I inspected the pedestal with the 200 ampere meter panel with main 200 ampere circuit breaker and two 20 ampere breakers for GFI receptacles. Conduit to transformer was covered and wire installed, only about twenty feet between, safety tape installed. Old service was removed prior from transformer. Old barn gone and hole dug for foundation. Conduit to new building, when built will be extended from pedestal to barn. I notified Liberty via email it was okay to connect.

Time 1.0

07-19-17	Permit 2017-30, 198 Route 120. I inspected the footer forms for the large building. Rebar all supported around perimeter and large reinforced square forms for the support posts that will be bolted to the concrete base.

Time 0.5

08-01-17	Permit 2017-30, 198 Route 120. Dave called and said the wall forms were ready for inspection. Looked okay, he was just finishing up installing the studs for the steel framing.

Time 0.5

10-10-17	Permit 2017-30, 198 Route 120. Building up, conduits along 120 side wall for electric and for water. No windows yet and no floor or large doors.

Time 0.2

11-03-17	Permit 2017-30, 198 Route 120. Doug called to have me inspect the drain plumbing that will be under the concrete floor. Set up for bathroom, kitchen sink along the left side going out the rear of the building. Also they started putting down three inches of blue foam on the ground.

Time 0.6

02-24-18	Permit 2017-30, 198 Route 120 – Steel building interior work - Saturday – 		Met with Bruce (BMD electric) who walked me through electrical rough-			in, in preparation for insulation scheduled for Monday. All the work 			appears to be MC cable and the home runs are installed back the to 			entrance panel in what will remain as un-insulated “garage” area, but were 		not yet run into the panel. Bruce indicated that TASCO will be installing 			an alarm system which will include smoke/co detectors. I asked if it was 			planned to be all surfaced mounted and he indicated that it was not in his 			scope of work. I have put a call in to Bruce Rogers to clarify, but at this 			point I know they were planning to begin insulation and there are no 			smoke/co detectors installed. I’ll let you know if / when I learn more.

Bruce Rogers called me back about the smoke/CO’s for the new metal 			building at 198 rte 120. He has spoken with owner or Tasco and been told 			that they will install their system including smoke/co detectors as part of 			their work, (planned for later this week), and we will be able to inspect the 		rough-in wiring work before it is covered. Unless he hears otherwise from 			you, Bruce Rogers is planning to begin drywall in the morning.

03-02-18	Permit 2017-30, 198 Rte 120 – Met Bruce Rogers and Tasco rep on-

site to inspection smoke detection prior to closing up walls and 	ceiling. Tasco has installed ceiling boxes in all areas (except one 	closet) where they intend to install low voltage heat detectors which

will connect to alarm system. The planned uses in the building are still 	in flux and Steve indicated that a ZBA application is in the works. The 	current work has created a garage area, a set of conditioned spaces

creating a “man cave”, storage spaces, and a guest space (bedroom).

The tasco rep indicated that they can provide smoke/co sensors in 	combination with the current sensors and that they have extra 	conductors available in the existing rough-in if needed. It seems to me

that they need to commit to how they intend to use they spaces and

that will  drive what is needed for code compliance and we can inspect 	accordingly. Beyond that they can decide what, if any additional 	features they want. Let me know if you want me to do something 	more.

07-19-18	Permit 2017-30, 198 Route 120. I stopped in to see if building was

finished. Most of the storage area was covered with plywood panels

and MC electric wiring that Brad inspected. A set of stairs goes to a

room that is over the back half of the building. The back half is the

man cave that has a bedroom, bathroom, kitchen area and a large 	room. This is paneled with v-boards. The electrical boxes are plastic

and the wiring is romex and Brad didn't mention that in she report.

Some of the boxes were not flush with the surface. I left a note as

no one was there. Bruce called me and he was sure Brad inspected the

wiring. I don't have any record of an insulation inspection. The romax

goes to a junction box and then to the panel as MC cable (metal clad).

After reading notes I will let Bruce know what I found out.

Time 1.0

07-25-18	Permit 2017-30, 198 Route 120. Met with Bruce and let him know that

Brad didn't inspect the electrical in the man cave section and also there

wasn't any inspection of the insulation. The metal walls already had R-19

installed through out. In the man cave they added an additional five inches 	of roxall insulation. Almost finished installing plywood in the storage 	area. Still need a final when completed.

Time 0.7

11-09-18	Permit 2017-30, 198 Route 120. Met with Bruce to do the final inspection

of the steel building. The right side was open garage area with a separate

room for storage and a second floor over that room and part of the man

cave area. All the walls were insulated and had plywood on them. The

man cave was all finished in wood, insulated same as other side. It 	contains a office/bedroom, a great room with a full kitchen, dining, and

lounge, and a full bathroom. It is heated by propane wall mounted space

heaters and the living space. I will issue an occupancy permit.

Time 1.3

David H Lersch

Plainfield Building Inspector