James Hollinder

166 Methodist Hill Road

448-0303

Permit # 2012-62

Map/Lot 209/1

200 Methodist Hill Road

26x88 Garage

10-04-12	Permit 2012-62, 200 Methodist Hill. I met with James to go over his plans to build a post and beam with Lavalley’s trusses and a gravel floor.

Time 1.1

10-21-12	Permit 2012-62, 200 Methodist Hill. Jim called to have me inspect the footer form for the posts. He decided not to use sona-tubes for the vertical posts but use a full footer around the perimeter.

Time 1.0

11-27-12	Permit 2012-62, 200 Methodist Hill. Jim emailed me the pictures of the footer and the 6x6 post anchoring along with a full description of how it was done. I will include the note in the file document with a few pictures. He had it all backfilled and the posts temporary braced. The trusses were there and that is the next step. I told Jim that since there isn’t any electrical or plumbing the next inspection will be the final when he has it completed.

Time 1.0

11-12-13	Permit 2012-62, 200 Methodist Hill. Jim called in response to status letter stating his permit expired. He is not finished yet, but he asked my to see the progress so far. All the posts are installed and the roof trusses, siding on the left side and he is working on the roof. He will call when finished and he should renew his permit.

Time 0.5

05-09-14	Permit 2012-62, 200 Methodist Hill Road. Garage almost completed. All siding installed and one half of the roof.

Time 0.1

11/11/14	Permit 2012-62, 200 Methodist Hill Road. Garage completed and I did the final inspection. I will issue a Certificate of Completion.

Time 0.4

David H Lersch

Plainfield Building Inspector