Robert Bartles

210 Columbus Jordan Road

469-3441

Permit #6011

04-24-06	Permit 6011, 210 Columbus Jordan Road. Telephone call with contractor. They will be pouring footer and walls next week. I will be out of town so I told him to get pictures and we can meet at the site when I get back.

Time 0:15

07-14-06	Call from Tom regarding 6011, 210 Columbus Jordan Road, questions regarding addition. Almost ready for the rough in inspection

07-18-06	Permit 6011, 210 Columbus Jordan Road. Met with Tom and did the rough in electrical and plumbing inspection of the addition. Long run from addition to existing drain plumbing but had enough slope. Furnace vent originally exited on the wall that now has the addition and was extended the length of the addition (okay with Irving). Straight run for the power vented furnace. Foundation was insulated with blue form on the inside. Told Tom to call when it is completed for the final inspection.

Time 0:50

09-11-10	Permit 6011, 210 Columbus Jordan Road. Sent letter to Bartles stating no final inspection was done and a CO is required. Also the permit expired April 2007.