Allen Rogers

30 Loomis Road

469-3616

Permit #7056

Permit #2010-58

Permit 2013-32

Permit # 2014-67

Permit # 2015-43

Permit 2016-70

Permit 2017-88

Permit 2019-05

Map/Lot 215/13

08-14-07	Allen Rogers called back and said the hole was dug for the footer and should be ready to pour within the week. Permit 7056

08-18-07	Permit 7056, 30 Loomis Road. Met with Allen and inspected footer forms for his addition. Looked okay. He ran three rows of rebar, tied together.

Time 0:35

06-09-13	Permit 2013-32, 30 Loomis Road. Allen emailed me to inspect framing of his addition. I said I would do it tomorrow after 4PM. After checking records, I checked my records and found I sent him a letter stating that his permit expired, Aug. 2010 and permit 2010-58 was issued 10/06/10. That permit expired and a letter was sent 4/22/12 stating that permit expired as well. Left telephone message today and told him he needed a new permit or a renewal, but I would still do the inspection.

Time 0.2

07-10-13	Permit 2013-32, 30 Loomis Road. I met Allen and did the framing inspection of his addition. Standing seam installed, egress windows in bedroom, some of the rough in electrical started. Outside of the second floor bedroom is a large landing with the stairs overlook the rooms below that have a cathedral ceiling. I asked him about the foundation and he said he used the foam blocks and it was inspected by the company prior to pouring, otherwise they would not warranty the blocks. I asked him for the certification paper and he will give me a copy as I never inspected the forms.

Time 0.7

08-29-15	Permit 2014-67, 30 Loomis Road. Allen emailed me to do the rough in electrical and plumbing inspection so he could insulate. I didn't see any issues with either the electrical or plumbing. The addition is finished on the outside and looks great. I told them they could insulate and that inspection and a final is all that is left as far as inspections unless something comes up that needs my approval.

Time 0.6

01-23-16	Permit 2015-43, 30 Loomis Road. Inspected the foam insulation for the walls and cathedral ceilings. He only had R38 sprayed and the new code requires R49. I let him know and he said there was not enough room to add the extra insulation. Since this was an on going permit, I would let it go.

Time 0.8