Stephen Marsh

321 Croydon Turnpike

448-0031

Permit # 2008-19

Permit # 2010-39

Map/ID 231/01

Attached garage with second floor bedroom

05-12-08	Permit 2008-18, 321 Croydon Tpke. Telephone call regarding information 		about inspections and construction of garage with bedroom upstairs.

Time 0.2

05-30-08	Permit 2008-18, 321 Croydon Turnpike, Inspected footer forms for addition. Looked okay, gave Dan Lapan okay to pour. Met Bud Marsh as

he was at home.

Time 0.7

    - Permit 2008-18, 321 Croydon Turnpike. Inspected frost wall and blue

foam insulation installed on inside of wall and floor drain for garage that

goes out on schedule 40 about 50 feet to daylight.

Time 0.8

06-03-10	Permit 2008-18, 321 Croydon Turnpike. I called on the first to see what the status of the permit was. He called back today and let me know that it is still not finished. He will apply for a renewal. We also discussed the size of the windows he installed in the second floor bedroom and it sounds like they will be okay for egress and I will verify when he gets ready for the rough in inspections.

Time 0.2

06-24-10	Permit 2010-39, 321 Croydon Turnpike. I inspected the rough in wiring and plumbing. I also checked the window sizes for egress and they were okay. None of the upstairs is finished including the bathroom. On the left side of the addition they extended the roof to make a lean to.

Time 1.0

12-05-13	Permit 2010-39, 321 Croydon Turnpike. Steven called about his final inspection. Since this permit expired in 2011, I told him I would inspect the addition in March if that was okay with him. They finally finished the bedroom up over the garage.

Time 0.2

David H Lersch

Plainfield Building Inspector