Kurt & Nancy Fillavit

329 Chellis Road

469-3540

Permit # 2009-75

Map/ID # 232/02

11-03-09	Permit 2009-75, 329 Chellis Road. Dan Lapan called to have me inspect the forms and rebar for the garage. He said there was a permit but I don’t have one unless it hasn’t been approved yet.

Time 0.5

11-11-09	Permit 2009-75, 329 Chellis Road. I received a call to inspect the trench form the transformer to the garage for the new electrical service.

Time 0.8

03-30-10	Permit 2009-75, 329 Chellis Road. I had telephone messages from Carl Thresher at 448-9027 and Tom Lappin regarding inspecting the electrical service entrance for the garage that was being changed from a temporary service. I told Tom on the 28th that I would go by early Monday morning and inspect and notify National Grid. I went by and inspected the panel and pedestal and notified National Grid via email that it was okay to connect service.

Time 0.7

David H Lersch

Plainfield Building Inspector