Tracy Sandmann

PO Box 406 Meriden

469-3160

Permit # 2019-12

Map/ID # 224/21

kitchen renovation

36 Jenny Road

03-25-19	Permit 2019-12, 36 Jenny Road. Rough-in inspection: Met 				contractor Todd Godfrey on-site. (Project is kitchen remodel) 			Existing framing connection of ceiling joists to beam appear 				insufficient. Todd indicated that he was already planning to add 			hangars. Vent solution may be tricky (Todd not certain on final 			design). Everything else looked good. Gave Todd the ok to proceed 		once hangars were installed.

David H Lersch

Plainfield Building Inspector