Michael & Pamela Skinner Family Trust

470 Old County Road

709-7074

Permit # 2013-15

Map/Lot 204/20

16x30 barn with lean to

06-05-13	Permit 2013-15, 470 Old County Road. Michael called to have me inspect

site for the barn that was ready for concrete. I inspected the forms and rebar for the slab and looked okay.

Time 0.7

10-17-13	Permit 2013-15, 470 Old County Road. The electrician called to have my inspect the electrical service entrance for the barn. It was okay and I notified Liberty and I also inspected some of the electrical rough in wiring inside.

Time 0.6

11-07-13	Permit 2013-15, 470 Old County Road. I inspected the rough in electrical and it was okay. They will be insulating the walls and then covering with 4’x8’ OSB panels. I inspected the lean to on the right side of the barn.

Time 0.7

David H Lersch

Plainfield Building Inspector