John Smith

PO Box 86

558-4370

Permit # 2016-69

Map/Lot 259/2/5

replace bay window w/french doors, new 12x40 unattached leanto, 20x26 metal carport.

5 Spruce Park Drive

09-13-16	Permit 2016-69, 5 Spruce Park Drive. John approached me on Saturday the 10th to discuss putting on a new awning along the side of his house and removing the bay window and installing French doors., also a three car, car port. Discussed anchoring and he would put anchors on the corners and rebar the rest of the places. I told him he could start, but to apply for a permit, he would on Monday. On Tuesday the 12th took a quick look at the framing for the new doors, no time. Today talked with contractor and looked over job. Door in, siding completed on end of home. John also had new shingles installed, no permit required for that.

Time 0.3 and 0.2

10-05-17	Permit 2016-69, 5 Spruce Park Drive. I inspected the installation of the 12x40 unattached lean-that replaced the roof over the south side of his manufactured home. Anchored with rebar with welded metal plate.

Time 0.1

David H Lersch

Plainfield Building Inspector