Andrew Martin

520 Willow Brook Road

491-6705

Permit # 2017-33

Map/Lot 215/11

200 ampere service upgrade

06-01-17	Permit 2017-33, 528 Willow Brook Road. Jim O. called to have me 			inspect the new 200 ampere service that is being installed. Once he is 			ready with the new circuit panel he will call for another inspection. This 			one is only for the outside service entrance so when he is ready NH Co-Op			Utilities can connect to new service entrance. Also time to notify via email	 		that it has been inspected when Jim calls. Also went over project.

Time 1.4

06-08-17	Permit 2017-33, 520 Willow Brook Road. Met with Jim O. to inspect the 			new circuit panel in the basement and the finished outside service entrance 		work I will issue a Certificate of Completion.

Time 0.5

David H Lersch

Plainfield Building Inspector