Andrew Martin

520 Willow Brook Road

491-6705

Permit # 2018-75

Map/Lot 215/11

220VAC hook up for outside hot tub

11-01-18	Permit 2018-75, 520 Willow Brook Road. Andrew called to have me inspect the hot tub install. Hot tub grounded, power from a panel below meter for the 200 ampere service that was upgraded last year contains the 200 ampere main circuit breaker and a 220VAC breaker for the hot tub.

I will issue a certificate of completion.

Time 0.8

David H Lersch

Plainfield Building Inspector