Scott & Jean DelPorte

523 Old County Road

Plainfield

298-5132

Permit #2011-16

Map/Lot 202/4

Garage w/radiant heat

11-03-11	Permit 2011-16, 523 Old County Road. I was called to inspect the slab forms and the trench with conduit as well as the pedestal containing the meter panel as well as the circuit panel for the garage. Looked okay.

Time 0.6

11-04-11	Permit 2011-16, 523 Old County Road. I went to inspect the radiant heating pipes prior to them pouring the floor.

Time 0.5

12-12-12	Permit 2011-16, 523 Old County Road. Received a call to inspect the service entrance to approve and notify National Grid that it is okay to connect service. I also did a framing inspection. They will be ready in a few weeks for rough in electrical and plumbing.

Time 0.5

02-16-12	Permit 2011-16, 523 Old County Road. Inspected the rough in electrical wiring and the rough in plumbing, it was okay. I will inspect the foam insulation either Tuesday late or Wednesday morning as it will be done by then.

Time 0.8

02-23-12	Permit 2011-16, 523 Old County Road. I inspected the spray foam insulation for the first floor. The upstairs will not be heated or insulated except for the small mechanical room that has the boiler.

Time 1.0

David H Lersch

Plainfield Building Inspector