Robert and Beverly Widger

PO Box 307

675-5265

Permit #2018-64

Map/Lot 108/10

rewire

53B Westgate Road

10-19-18	Permit 2018-64, 53B Westgate Road. Josh called from Brite Lite to inspect the new electrical panel and wiring. Replaced old low voltage electrical system. Consolidate circuit panels. Only thing he needed to do was to fire stop penetrations. I will issue a certificate of completion.

Time 0.4

David H Lersch

Plainfield Building Inspector