Beth Todd (Sfnsenig)

70 Methodist Hill Road

448-7031

Permit # 2012-59

Map/Lot 212/16

16x16 screen porch

10-15-12	Permit 2012-59, 70 Methodist Hill Road. Peet called to have me meet him at the site to go over the plans for the screen porch. Some of the perimeter framing was completed and the ledger board was fastened correctly.

Time 0.6

11-08-12	Permit 2012-59, 70 Methodist Hill. Peet called to have me inspect the electrical wiring for the screened porch. He tied the new roof to the two level existing roofs to reduce the chance of snow accumulating where they meet, looks good as well as the electrical.

Time 0.7

David H Lersch

Plainfield Building Inspector