George & Cheryl Grabe

802 Route 12A

675-6174

Permit #7041

Map/Lot 237/4

05-08-06	Permit 7041, 802 Route 12A. George called and wanted to go plans to attach a building between the first floor of his house to the basement of a second building with a garage above. The floor will be concrete beams. He is using Lavalleys and another engineer to spec out size, etc. When plans are completed he will apply for a permit.

Time 0:35

08-14-07	Permit 7041, 802 Route 12A. George called and wanted to meet to go over plans and inspections and what I would be looking for. Got there a little early and talked to Mark Wilder while he was waiting for the truck as he was leveling out the area and getting ready to dig the trench for the footer. George was late but his wife said he was on his way. Went over plans and got a copy (Lavalley’s designed) and let him know what I wanted to inspect and footer requirements and ground wire for new sub panel. There will be limited electrical circuits at this time but it will contain wires disconnected from the house that feeds the other building.

Time 1:25

08-16-07	Permit 7041, 802 Route 12A. Inspected the footer forms and rebar. All was okay, gave okay to pour.

Time 0:30

08-17-07	Permit 7041, 802 Route 12A. Inspected frost wall forms under end of house. The rest of the walls will be ready to inspect on Monday morning. What is ready to pour was okay.

Time 0:25

08-20-07	Permit 7041, 802 Route 12A. Inspected wall forms and rebar for outside walls as well as center support wall. Vertical rebar height of wall with horizontal rows wired to vertical. Looked great, gave the okay to pour when they finished.

Time 0:35

08-31-07	Telephone calls while out of town.

Call from George to inspect perimeter drains at 802 Route 12A. Mark Wilder is doing site work and I told George to go ahead as long as he was okay with the drains.

11-01-07	Permit 7041, 802 RT 12 A.  Call from Mr. Grabe asking if I needed to see the garage pour being done at 7 am the next morning.  I told him I certainly did, but that I was leaving first thing in the morning and would have appreciated a call a little earlier.  His concrete guy called and said he had a pumper scheduled and could not cancel.  I was mean at first but finally told to take photos and give them at our next meeting.

Time 0:20

11-02-07	Permit 7041, 802 RT 12 A.  Stopped by to see the pour, but no one was around.  It looked fine.

Time 0:25