Wayne Mulhain

82 Route 120

252-2985

Permit # 2013-50

Map/ID # 213/11

Full dormer on rear

09-04-13	Permit 2013-50, 82 Route 12A. Wayne called and told me what he was going to do and I told him to call when the dormer was framed.

10-26-14	Permit 2013-50, 82 Route 12A. I sent a status letter stating that his permit expired on 09-17-14 and no inspections were performed and a final inspection was required.

12-31-14	Permit 2013-50, 82 Route 120. Win did a rough in electrical inspection and gave the okay to insulate and sheetrock the second floor areas. Need to verify on the final inspection that new circuits to the bedrooms and lighting are Arc fault protected and that smoke detectors are not on their own circuit.

Time 1.0

David H Lersch

Plainfield Building Inspector