Jim & Molly Sheehan

94 True Road

469-3862

Permit # 2011-65

Map/Lot 214/18

New bathroom, Removal of old one

82 True road

10-21-11	Permit-none, 82 True Road. I met with Jay, the contractor that has been asked to move the bathroom from the hallway to the other side of the wall and to make a doorway into that bathroom from the workroom. We went over the venting and other issues related to moving the bathroom. This would allow the workers to use the bathroom without going into the house. If they decide to go ahead, they will apply for a permit.

Time 1.6

11-17-11	Permit – Applied, 82 True Road. I met with the contractor to inspect the rough in plumbing and electrical for the new bathroom. Looked okay. Doorway was constructed to the work area and the home side of the walls closed in. The next step is to remove the existing bathroom fixtures and install them in the new bathroom. I told them to call when it is finished.

Time 0.5

David H Lersch

Plainfield Building Inspector