Kevin and Clara McNamera

909 Route 120

603-469-xxxx

Permit # 2015-63

Map/Lot

Concrete block shed

11-25-15	Permit 2015-xx, 909 Route 120. Kevin called to have me inspect the shed 			he is having built. Large concrete blocks with 6x6's anchored to top with 			rebar and wooden rafters. Still working on roof. Looked okay.

Time 0.3

12-01-15	Permit 2015-xx, 909 Route 120. Shed all finished except for a few boards 			closing in the triangle on the gable ends. I will issue the CC when the 			permit gets approved.

Time 0.1

David H Lersch

Plainfield Building Inspector