Georgia & Dave Lowey

99 True Road

448-0070

Permit # 5051, 7073, 2008-38, 2009-41

Map/Lot 214/4

07-14-05	Permit 5051, 99 True Road. David called and asked me to inspect footer

forms on his addition. Most of the rear of his house that was uncovered

was all ledge. Footers on the right rear were poured before I got there

and there were pins installed in the ledge where the rest of the footings

are going. The poured footing looked okay as far as I could see and since

there was plenty of rebar on site and what wasn’t ready yet, looked like it

is being done according to code. I will call David again on Monday to see

when I need to go again and to let him know not to pour until he hears

from me. 252-6561 cell and 448-0070 work

Time 0:55

07-21-05	Permit 5051, 99 True Road. When I went to the site before the only forms

that were there had already been poured. Just along the right side of the

addition. I haven’t heard from them so I thought I would take a look to see

how it was coming along. The rear forms were ready to pour and about ½

of the left side. The forms looked okay and the rebar was installed and

wired to the rebar that was driven into the ledge and would extend into the

foundation walls. I will call them tomorrow and let them know it looks

good so far and when the forms are ready to call me before they pour.

Time 0:45

03-06-06	Permit 5051, 99 True Road. Georgia called and wanted me to inspect the framing of their addition. I haven’t been there since last July. The last time I saw the house, the footers were being poured. The first floor is a concrete slab with radiant heat and the plumbing in the floor wasn’t inspected prior to pouring as well as the foam wall block walls. We discussed this and any future inspections that would be required. It is a 1-1/2 story addition with a high cathedral ceiling and three rooms upstairs. There is a fireplace that will use outside air for combustion air, as the house will be very tight.

Time 1:05

04-28-06	Permit 5051, 99 True Road. Inspected the rough in plumbing and electrical. Everything looked good except two smoke detectors, one in loft music room and one other side of wall that is a cathedral ceiling. The detectors were two low and I told them to have them moved. It was done later this day and I will verify on the final inspection.

Time 0:55

01-12-07	Tom, All rough in plumbing for 1st and 2nd floor baths was up to code and could be closed in.

02-08-07	Tom, Called Dave back and told him I needed to inspect wiring before he closed up the walls as they said they were sheet rocking today. He told me he gave 24 hours notice and it wasn’t his problem if I couldn’t get there. I told him he needed to be more flexible and Dave said it was my tuff luck. Lost him a couple of times because of his cell phone, gave up.

09-24-08	Permit 2008-38, 99 True Road. Inspected footer forms for breezeway between right side of garage and end of house. Going to leave garage through side door, down stairs, through breezeway and in end door of house. Went over drawings and specifications with contractor, looked okay and gave them the okay to pour. Also saw Dave and mentioned that there hasn’t been an inspection for a while and no final as well, he said it still wasn’t 100% completed. I said next time I came by I would do as much of a final as I could as they are living it the addition.

Time 1.0