Kimball Union Academy

PO Box 188

Meriden

469-2152

Permit # 2013-30

Map/Lot 103/04

Build enclosed fire escape and renovate 2nd floor dorm

6 Main Street

07-26-13	Permit 2013-30, KUA, 6 Main Street. Inspected the footer forms for the stairwell entrance. Going up to stone foundation with forms. Okay to pour.

Time 0.6

07-29-13	Permit 2013-30, KUA, 6 Main Street. Inspected frost wall forms and told them they could pour. They formed right up to the stone foundation and had dumped gravel around the footer.

Time 0.4

08-07-13	Permit 2013-30, KUA, 6 Main Street. I inspected the plumbing and electrical for the new bathroom and the new sub-panel on the second floor. The old bathroom was gone and the new stairwell was framed and partially sided.

Time 0.3

08-16.13	Permit 2013-30, KUA, 6 Main Street. They wanted to sheetrock the stairwell and insulate. I told them to go ahead as I couldn't be there until Monday and they wanted to have it completed on Sunday. School starting soon.

Time 0.1

08-21-13	Permit 2013-30, KUA, 6 Main Street. Contractor called as he wanted me to go over the steps inside the new enclosed fire escape. The stairs will start to the left of the upstairs door as it swings out to the right and down to the a 42” landing, and continue down the front wall to the exit door. The stairs could be reversed, but at the bottom of the stars would be the door from the first floor that swings out and could block the egress from the stairs. Contractor was okay with my suggestions. Should be ready for a final next week.

Time 0.5

David H Lersch

Plainfield Building Inspector