Judy Belya

146 Main Street

448-1689

Permit # 2018-63

Map/Lot 102/20

10x12 deck

146 Main Street

10-09-18	Permit 2018-63, 146 Main Street. Contractor called to have me inspect the 		completed 10x12 deck. Everything looked okay except there were only 			posts and horizontal railings around the deck and about one half of the 			deck was over 30 inches above grade it requires the four inch spacing 			either by balusters or some other means to meet code. Told him to call 			when it is completed.

Time 0.4

12-05-18	Status letter sent about no balusters as contractor never called after inspection.

11-26-19	No response to letter for the installation to balusters and as of this date, none installed.

David H Lersch

Plainfield Building Inspector