Kimball Union Academy

PO Box 188

Meriden

469-2152

Permit # 2019-18

Map/Lot 102/7

Full Renovate gym

61 Main Street

05-07-19	Went with Doug and Brad to walk through the renovation of the gym.

They are not sure what they are going to do with pool, remove or fill in or put decking over it. They lowered e a steel beam so they could extend the gym upstairs. They have 440vac, three phase power into the building and will be adding circuits for lighting, etc.

Time 0.2

08-20-19	I inspected the rough in electrical wiring both on the gym floor and downstairs. Looked okay. They want to sheetrock.

Time 0.3

11-07-19	I did the final inspection of the gym. New egress on right sided added with covered metal stairs to grade. All life safety equipment installed. New led lighting. I will issue a CC.

Time 0.4

David H Lersch

Plainfield Building Inspector

Completion Certificate

TOWN OF PLAINFIELD, NH

This certifies that the work described by Building Permit # 2019-18, at 61 Main Street, Meriden, NH, Map/Lot 102-07 has been completed in accordance with the provisions of the 2015 International Building Code and the Codes of the Town of Plainfield.

Description of Work: Renovate gym by extending playing floor space by removing stage. Adding a new egress on SW side to grade, new lighting, move electrical panel and some new electrical wiring.

Portion of structure inspected: Areas of renovation.

Applicants Name: Kimball Union Academy

PO Box 188

Meriden, NH 03770

11/07/2019

Building Code Official Signature   Date

David H. Lersch