Kimball Union Academy

PO Box 188

Meriden

469-2152

dplummer@kua.org

Permit # 2020-14

Map/Lot 102/7

lounge to 1br apt

2nd and 3rd bathroom renovation

71 Main Street

06-16-20	I inspected the rough in electrical for the one bedroom apartment in area that is being renovated into the apartment. Looked okay.

Time 0.7

06-30-20	I inspected the rough in plumbing on the 2nd and 3rd floor bathrooms. Will call when penetrations are fire stopped.

Time 0.5

07-27-20	I inspected more of the drain plumbing and hot and cold pipes under pressure. Four showers installed. Penetrations fire stopped. Inspection was on 1st, 2nd, and 3rd floors.

Time 0.3

07-28-20	I inspected at the request of KUA the rough in electrical for the second and third floor bathrooms. Looked okay.

Time 0.7

11-12-20	I completed the final inspection of the apartment and the four renovated

bathrooms on the second and third floors. I will issue a certificate of

completion.

Time 0.5

David H Lersch

Plainfield Building Inspector

Certificate of Completion

TOWN OF PLAINFIELD, NH

This certifies that the building owned by Kimball Union Academy located at 71 Main Street, Meriden, NH may be occupied in accordance with the provisions of the 2015 International Building Code and the Codes of the Town of Plainfield.

Description of Structure: Renovate four bathrooms, two on the third floor and two on the  fourth floor and convert lounge to a one bedroom apartment.

Portion of structure inspected: Completed renovations and converted apartment.

Building Permit # 2020-14

Map/Lot:  107-07

Name: 	Kimball Union Academy

Address:  PO Box 188

Meriden, NH 03770

November, 12, 2020

Building Code Official Signature   Date

David H. Lersch