Plainfield School

92 Bonner Road

469-3250

Permit Map/Lot 105/11

Front entrance sidewalk lighting

08-13-19	Met with Jim O. and Bill Knight to inspect the trench and conduit for the new lighting along the sidewalk and the sona-tubes for the base for the light posts.

Time 0.4

David H Lersch

Plainfield Building Inspector