07-30-19	Inspected the framing for the porch and the roof. New sheathing on where 			they had to take off old sheathing to provide support for the header over 			the door. Some siding was removed and where it was removed they 			installed tape around the window frame. Steps were being constructed. 			They used pre-cast piers to support porch roof.

Time 0.3.

David H Lersch

Plainfield Building Inspector