Richard Caruso and Diane Sangerman

5 Whitney Road

381-0054

Permit # 2015-17

Map/Lot 240/12

Building on end of pool

05-14-15	Permit 2015-17, 5 Whitney Road. I inspected the footer forms for the new building at the end of the pool. Rebar installed as well as copper ground wire. Received a call when I was in West Leb. and stopped by on the way home.

Time 0.3

05-26-15	Permit 2015-17, 5 Whitney Road. Inspected the electrical conduit  and the sprayed foam insulation on the inside of the concrete wall so they could backfill.

Time 0.3

06-03-15	Permit 2015-17, 5 Whitney Road. Inspected the sprayed foam insulation that will be under the concrete slab.

Time 0.3

06-12-15	Permit 2015-17, 5 Whitney Road. I inspected the forms and rebar for the floor for the building by the pool.

Time 0.4

07-08-15	Permit 2015-17, 5 Whitney Road. I inspected the framing for the building, no electrical yet and there won't be any plumbing in the building.

Time 0.2

07-22-15	Permit 2015-17, 5 Whitney Road. I completed the rough in electrical at the pool building. Looked okay.

Time 0.5

12-22-15	Permit 2015-17, 5 Whitney Road. Inspected the building, it still needs electrical fixtures installed, counter tops. All the pool plumbing and electrical was completed and is installed behind the building. It will be spring now before it is completed.

Time 0.2

05-16-16	Completed, certificate issued

David H Lersch

Plainfield Building Inspector